## Slide 1: conductivity sensor implementation
living with the lab
© 2011 LWTL faculty team

## Slide 2
conductivity measurement circuit
we use the same voltage divider circuit used earlier for the photoresistor circuit
living with the lab
10 kΩ
digital output = 5V when HIGH (set high periodically to measure conductivity)
analog input (measures voltage across 10kΩ resistor)
what happens to the electrical resistance of the water as it becomes more salty?
if the resistance of the salt water decreases, then what happens to the voltage drop across the conductivity sensor?
if the voltage drop across the conductivity sensor decreases, then how does this influence the voltage drop across the 10kΩ resistor?
so, increasing the salinity of the water causes the analog input read by the Arduino to (increase or decrease)?
it decreases
it decreases
it increases
0 to 1023

## Slide 3
what happens when salt is added to water????
The ionically bonded NaCl molecules dissociate into Na+ and Cl- ions and become mobile
they are surrounded by polar water molecules (they are hydrated)
living with the lab
electrodes (no voltage applied)
Na+
O
H H
Na+
O
H H
O
H H
O
H H
O
H H
O
H H
Cl-
Cl-
Cl-
Cl-
Na+
Na+
Na+
Na+
Cl-
Cl-
Cl-
Na+
Na+
Na+
Na+
Na+
Cl-
O
H H
O
H H
O
H H
O
H H
O
H H
O
H H
Cl-
Cl-
Cl-
Cl-
Cl-
Cl-
Na+
Na+
Na+
Na+
Na+
Na+
Cl-
Cl-
Cl-
Cl-
Na+
Na+
water

## Slide 4
applying voltage to induce electron flow
living with the lab
e-
5V
e-
10 kΩ
e-
Cl-
Cl
Cl
Cl2
Cl-
e-
Cl-
e-
e-
OH-
H2O
H2O
OH-
H
H
e-
e-
anode – oxidation (loss of electrons)
cathode – reduction (gain of electrons)
Cl-
Cl-
Cl-
Cl-
Na+
Na+
Na+
Na+
Na+
Na+
Cl-
Cl-
Cl-
Cl-
Na+
Na+
Na+
Na+
Na+
Cl-
ion migration
Na+
Na+ is a spectator ion
oxidation occurs at the positively charged anode:
reduction occurs at the negatively charged cathode:
electrons are really not directly conducting through the water from one electrode to the other (like when electrons move through a copper wire)
It seems like an Na+ would accept an electron and be reduced . . . why not???

## Slide 5
why is H2O reduced and not Na+ ???
living with the lab
reactions further down in the table are less likely to occur
reactions with positive voltages will occur spontaneously
you must apply external voltage across the electrodes to make a reaction with a negative potential occur

## Slide 6
living with the lab
the net reaction of conductivity system
the net reaction occurring in the system is . . .
we must apply at least 2.19 V to the conductivity circuit to drive the reaction
applying 5 V is sufficient, and higher voltages will increase the rate of oxidation & reduction reactions

## Slide 7
living with the lab
system wiring
10 kΩ
digital output = 5V when HIGH (set high periodically to measure conductivity)
analog input (measures voltage across 10kΩ resistor)