## Slide 1
June – 6th – 2012
Mt. Angel Abbey Library HVAC

## Slide 2
Team “M.A.C.H.V.A.C.”
Design Team Ras Wickramaratne Santiago Rodriguez John Slate Ghassan Mustafa Ali Alsahaf
Support Team
Client: Victoria Ertelt PSU Advisor: Dr. David Sailor
Design Advisor: Evan Waymire
Industry Advisor: Ruwan Jayaweera

## Slide 3
Background
  Designed by modernist Finnish architect Alvar Aalto
  Completed in 1970
  46,000 sq ft., three-story
  Collection of over 5000 rare books and antiquities
  Under-performing HVAC system

## Slide 4
Mission Statement
Model an efficient HVAC system for the Mt Angel Library
Maintain a desired temperature and humidity for thermal comfort
Ensure the safe storage of the valuable collection of books in the library
Utilize computer-aided simulations
Calibrate the model using onsite measurements

## Slide 6
Project Plan
Brainstorm & Research
Data collection
Model Design
Calculate Heating and Cooling Loads
Model Refinement
Component selection
Recommendations

## Slide 7
Model Peak Loads

## Slide 8
Model Validation

## Slide 10
Component Selection
Air-cooled Chiller

## Slide 11
Component Selection
Air-cooled Chiller

## Slide 12
Central Cooling Coil (finned tube)
Component Selection

## Slide 13
Central Cooling Coil (finned tube)
Component Selection

## Slide 14
Zone Control Dampers
Variable Frequency Drive
Component Selection

## Slide 15
Zone Control Dampers
Variable Frequency Drive
Component Selection

## Slide 16
DDC (digital controls)
Component Selection

## Slide 17
EUI=
144 kBtu/ft2

## Slide 18
Recommendations

## Slide 19
Recommendations
COMPLETE NEW SYSTEM:
120 TON CHILLER
CENTRAL COILING COIL
ZONE CONTROL DAMPERS
SUPPLY/ RETURN FAN VFD
DDC CONTROLS
ECONOMIZER REPAIR

## Slide 20
COMPLETE NEW SYSTEM:
120 TON CHILLER
CENTRAL COOLING COIL
ZONE CONTROL DAMPERS
SUPPLY/ RETURN FAN VFD
DDC CONTROLS
ECONOMIZER REPAIR
PHASE I
SYSTEM REPAIR:
ECONOMIZER
PNEUMATIC CONTROLS
BALANCE MANUAL DAMPERS
ADD INSULATION
PHASE II
HYBRID DDC CONTROLS:
NEW DIGITAL HEADEND
EPT SWITCHES ON ACTUATORS
UTILIZE PNEUMATIC POWER
PHASE III
120 TON CHILLER
CENTRAL COOLING COIL
ZONE CONTROL DAMPERS
SUPPLY/ RETURN FAN VFD
PHASE IV
FULL DDC CONTROLS:
REMOVE PNEUMATIC SYSTEM
INSTALL ELECTRONIC ACTUATORS
DCV CO2 SENSORS
HUMIDISTATS IN WORST ZONES
Recommendations

## Slide 21
Recommendations

## Slide 22
Recommendations

## Slide 23
Conclusion

## Slide 24
 Questions 
Ali Alsahaf
Ras Wickramaratne
Santiago Rodriguez
John Slate
Ghassan Mustafa