## Slide 1: INN AT OTTER CREST
TEAM MEMBERS:
LEE HAN OSMAN KUCUK KEVIN MURRAY ANDREY VOLODKIN NATALIE SHERWOOd ABDULAZIZ ALNASSAR
HUY TRAN FACULTY ADVISOR : DR. HUAFEN HU

## Slide 2: OBJECTIVE
Background
Mission/Goal
Analysis background
PDS/Design Narrative
Conclusion

## Slide 3: PROPERTY BACKGROUND
Property was built in 1972
35 Acres
27 Building
  4 or 8 condo
  144 units
Timeshare ownership or hotel

## Slide 4: Mission/Goals
Our capstone mission is to perform an energy audit
Save annual cost for the owners
Deliverables:
Reduce Annual Heating Cost by 20%
  Current cost $150,000
Improve Building Performance
  6 year back for any upgrades

## Slide 5: Customer Identification
Primary External Customer
Owners at IOC
Secondary External Customer
Visitor/Guest at IOC
Internal Customer
Capstone class requirements

## Slide 6: Research
Internal Research
Brainstorming
  Envelope analysis
  Blower door test
  Window glaze
  Submetering – individual electical load
External Research
LED light
Heat Pump
Solar water heater
Low flow devices – Hot water

## Slide 7: ANALYSIS BACKGROUND
Baseline Energy Analysis
Building Envolpe
HVAC System
Energy Modeling

## Slide 8: ENERGY ANALYSIS
Electrical usage
Baseline model – compare savings
Help with target reto-improvements
  Better ideas for equipment selections/upgrades
Understanding of behavior usage
When/what to turn off
Automate systems to reduce power

## Slide 9: BUILDING ENVELOPE
What effect the building envelop
Walls insulation (R-values)
Windows (U-values)
Roof/Floor
System sizing

## Slide 10: HVAC SYSTEM
Current System
Baseboard heating
Electrical hot water heater
No cental ventlation – A/C Units
Possible Upgrades
Heat pump
Boiler
Solar Panel/Solar water heater

## Slide 11: ENERGY MODELING
Powerful Tool in building science
  Modeling before and after building changes
  Account for weather patterns
Check System
  Modeling can verify assumptions
  Can validate final solution for customer

## Slide 12: OBSTACLES
Owners rights !
The cost of upgrades
  Large property
Weather
  Effects equipment selection and installation
  High salt corrosion
Time constant – Distance

## Slide 13: PDS/DESIGN NARRATIVE
Baseline Energy Usage
Light
Heating
Water
Wall Insulation
Windows
Building Usage

## Slide 14: CONCLUSION
Big property
Difference usages, Space to space varenice
Our mission/goals
Annual Cost Reduction
Analysing the property systems
PDS/Design Narrative

## Slide 15: QUESTIONS