## Slide 1: Ultraviolet (UV) Disinfection

## Slide 2: Ultraviolet Spectrum

## Slide 3: UV Radiation Induces Pyrimidine Dimers Disrupts DNA Replication
Pyrimidine Bases =
Thymine & Cytosine

## Slide 4: UV Radiation Induces Pyrimidine Dimers Disrupts DNA Replication

## Slide 5: UV Lamps

## Slide 6: UV Lamp Types
Low Pressure Hg Vapor (Amalgam)
  Higher biocide efficiency
  Lower power, lower temperature
  Longer lamp life
  Lots of lamps needed for large flows
  Hence mostly in smaller plants

## Slide 7: UV Lamp Types
Medium Pressure Hg Vapor
  Broader UV spectrum
  Penetrate water better
  Higher power use per tube, higher temp
  Hotter tubes tend to foul more easily
  Fewer tubes needed
  Hence more efficient per watt for large flows

## Slide 8: Comparative Spectra: Low and Medium Pressure UV Lamps
Wavelength, nm

## Slide 9: UV Disinfection Equipment

## Slide 10: Marine Park WWTP, Vancouver WA

## Slide 14: Aesthetics at Marine Park WWTP